## 20200621_ecotopeResults
Column1 | Building Type | Attribute | Attribute Type | Incremental Change
220 | restaurant-full-service | gas_max_kitchen | gas | 26.98%
122 | hotel-small | gas_max_laundry | gas | 14.27%
296 | retail-supermarket | gas_max_bakery | gas | 8.719%
17 | apartment-highrise | oa_person_residence | oa_person | 7.652%
297 | retail-supermarket | gas_max_deli | gas | 7.558%
39 | apartment-midrise | oa_person_residence | oa_person | 7.378%
42 | apartment-midrise | oa_area_residence | oa_area | 6.421%
20 | apartment-highrise | oa_area_residence | oa_area | 6.15%
61 | hotel-large | gas_max_laundry | gas | 5.9%
427 | warehouse | lighting_density_bulkstorage | lighting_density | 4.459%
2 | apartment-highrise | lighting_density_residence | lighting_density | 4.318%
24 | apartment-midrise | lighting_density_residence | lighting_density | 3.821%
6 | apartment-highrise | equipment_density_residence | equipment_density | 3.671%
28 | apartment-midrise | equipment_density_residence | equipment_density | 3.305%
151 | office-large | equipment_density | equipment_density | 3.253%
177 | office-small | equipment_density | equipment_density | 3.194%
185 | residential-care | lighting_density_target | lighting_density | 3.169%
46 | hotel-large | lighting_density_target | lighting_density | 3.103%
430 | warehouse | equipment_density_bulkstorage | equipment_density | 2.983%
166 | office-medium | equipment_density | equipment_density | 2.907%
176 | office-small | lighting_density | lighting_density | 2.81%
14 | apartment-highrise | cooling_setpoint_residence | setpoint | 2.691%
278 | retail-strip-mall | cooling_setpoint | setpoint | 2.652%
142 | hotel-small | oa_person_residence | oa_person | 2.552%
126 | hotel-small | cooling_setpoint | setpoint | 2.543%
276 | retail-strip-mall | equipment_density | equipment_density | 2.495%
179 | office-small | cooling_setpoint | setpoint | 2.494%
149 | office-large | lighting_density | lighting_density | 2.469%
428 | warehouse | lighting_density_finestorage | lighting_density | 2.444%
263 | retail-stand-alone | cooling_setpoint | setpoint | 2.386%
164 | office-medium | lighting_density | lighting_density | 2.337%
239 | restaurant-quick-service | gas_max_kitchen | gas | 2.334%
36 | apartment-midrise | cooling_setpoint_residence | setpoint | 2.196%
187 | residential-care | lighting_density_residence | lighting_density | 2.165%
201 | residential-care | equipment_density_residence | equipment_density | 2.072%
108 | hotel-small | lighting_density_residence | lighting_density | 2.025%
260 | retail-stand-alone | equipment_density_retail | equipment_density | 1.88%
13 | apartment-highrise | heating_setpoint_residence | setpoint | 1.869%
35 | apartment-midrise | heating_setpoint_residence | setpoint | 1.867%
328 | school-primary | equipment_density_classroom | equipment_density | 1.7%
286 | retail-supermarket | lighting_density_target | lighting_density | 1.633%
118 | hotel-small | equipment_density_residence | equipment_density | 1.611%
424 | school-secondary | heating_setpoint | setpoint | 1.6%
227 | restaurant-full-service | cooling_setpoint_kitchen | setpoint | 1.57%
209 | residential-care | oa_person_common | oa_person | 1.559%
246 | restaurant-quick-service | cooling_setpoint_kitchen | setpoint | 1.553%
289 | retail-supermarket | lighting_density_retail | lighting_density | 1.391%
139 | hotel-small | oa_person_lounge | oa_person | 1.231%
299 | retail-supermarket | cooling_setpoint | setpoint | 1.089%
145 | hotel-small | oa_person_meeting | oa_person | 1.084%
189 | residential-care | lighting_density_corridor | lighting_density | 1.039%
125 | hotel-small | heating_setpoint | setpoint | 1.019%
211 | residential-care | oa_person_residence | oa_person | 1.007%
294 | retail-supermarket | equipment_density_retail | equipment_density | 0.9612%
382 | school-secondary | equipment_density_classroom | equipment_density | 0.9333%
70 | hotel-large | cooling_setpoint | setpoint | 0.874%
216 | restaurant-full-service | lighting_density_dining | lighting_density | 0.8552%
57 | hotel-large | equipment_density_residence2 | equipment_density | 0.8306%
223 | restaurant-full-service | cooling_setpoint | setpoint | 0.8154%
242 | restaurant-quick-service | cooling_setpoint | setpoint | 0.7953%
100 | hotel-small | lighting_density_corridor | lighting_density | 0.7738%
132 | hotel-small | oa_area_residence | oa_area | 0.7693%
25 | apartment-midrise | lighting_density_corridor | lighting_density | 0.7521%
22 | apartment-midrise | air_leakage | air_leakage | 0.7368%
155 | office-large | cooling_setpoint | setpoint | 0.7%
262 | retail-stand-alone | heating_setpoint | setpoint | 0.6741%
330 | school-primary | equipment_density_corridor | equipment_density | 0.6198%
0 | apartment-highrise | air_leakage | air_leakage | 0.6045%
261 | retail-stand-alone | equipment_density_office | equipment_density | 0.5981%
384 | school-secondary | equipment_density_corridor | equipment_density | 0.5882%
65 | hotel-large | dhw_residence | dhw | 0.58%
48 | hotel-large | equipment_density_basement | equipment_density | 0.5774%
21 | apartment-highrise | oa_area_corridor | oa_area | 0.5646%
50 | hotel-large | equipment_density_corridor | equipment_density | 0.5401%
183 | office-small | oa_area_office | oa_area | 0.5291%
406 | school-secondary | oa_person_kitchen | oa_person | 0.5%
429 | warehouse | lighting_density_office | lighting_density | 0.4821%
236 | restaurant-quick-service | lighting_density_kitchen | lighting_density | 0.4625%
30 | apartment-midrise | dhw_residence | dhw | 0.4599%
229 | restaurant-full-service | cooling_setpoint_kitchen_setup | setpoint | 0.4593%
235 | restaurant-quick-service | lighting_density_dining | lighting_density | 0.459%
43 | apartment-midrise | oa_area_corridor | oa_area | 0.455%
280 | retail-strip-mall | cooling_setpoint_setup | setpoint | 0.4024%
8 | apartment-highrise | dhw_residence | dhw | 0.3782%
385 | school-secondary | equipment_density_gym | equipment_density | 0.375%
170 | office-medium | oa_person_office | oa_person | 0.3684%
431 | warehouse | equipment_density_office | equipment_density | 0.36%
217 | restaurant-full-service | lighting_density_kitchen | lighting_density | 0.3595%
129 | hotel-small | oa_area_lounge | oa_area | 0.3588%
248 | restaurant-quick-service | cooling_setpoint_kitchen_setup | setpoint | 0.3579%
298 | retail-supermarket | heating_setpoint | setpoint | 0.3481%
54 | hotel-large | equipment_density_lobby | equipment_density | 0.3438%
238 | restaurant-quick-service | equipment_density_kitchen | equipment_density | 0.3373%
171 | office-medium | oa_area_office | oa_area | 0.3342%
218 | restaurant-full-service | equipment_density_dining | equipment_density | 0.311%
190 | residential-care | lighting_density_commons | lighting_density | 0.3067%
341 | school-primary | cooling_setpoint | setpoint | 0.3048%
237 | restaurant-quick-service | equipment_density_dining | equipment_density | 0.2946%
175 | office-small | air_leakage | air_leakage | 0.2937%
3 | apartment-highrise | lighting_density_corridor | lighting_density | 0.2896%
307 | retail-supermarket | oa_area_sales | oa_area | 0.2875%
287 | retail-supermarket | lighting_density_bulkstorage | lighting_density | 0.2808%
140 | hotel-small | oa_person_fitness | oa_person | 0.2681%
182 | office-small | oa_person_office | oa_person | 0.2633%
331 | school-primary | equipment_density_gym | equipment_density | 0.2611%
259 | retail-stand-alone | equipment_density_retailpos | equipment_density | 0.2508%
265 | retail-stand-alone | cooling_setpoint_setup | setpoint | 0.2506%
336 | school-primary | equipment_density_office | equipment_density | 0.2489%
270 | retail-stand-alone | oa_person_retail | oa_person | 0.2445%
345 | school-primary | oa_person_cafeteria | oa_person | 0.2424%
230 | restaurant-full-service | oa_person_dining | oa_person | 0.2407%
313 | retail-supermarket | oa_person_sales | oa_person | 0.2407%
60 | hotel-large | gas_max_kitchen | gas | 0.2375%
426 | warehouse | air_leakage | air_leakage | 0.23%
333 | school-primary | equipment_density_library | equipment_density | 0.2264%
282 | retail-strip-mall | oa_area_small | oa_area | 0.2255%
290 | retail-supermarket | equipment_density_bulkstorage | equipment_density | 0.2221%
106 | hotel-small | lighting_density_stairs | lighting_density | 0.2173%
284 | retail-strip-mall | oa_person_small | oa_person | 0.2153%
167 | office-medium | equipment_density_elevator | equipment_density | 0.215%
214 | residential-care | oa_area_residence | oa_area | 0.2143%
253 | retail-stand-alone | air_leakage | air_leakage | 0.2139%
285 | retail-supermarket | air_leakage | air_leakage | 0.2139%
267 | retail-stand-alone | oa_area_retail | oa_area | 0.2127%
124 | hotel-small | dhw_residence | dhw | 0.2098%
205 | residential-care | dhw_residence | dhw | 0.204%
392 | school-secondary | equipment_density_office | equipment_density | 0.2%
135 | hotel-small | oa_area_meeting | oa_area | 0.1844%
158 | office-large | oa_area_office | oa_area | 0.1793%
173 | office-medium | heating_setpoint | setpoint | 0.17%
337 | school-primary | gas_max_kitchen | gas | 0.1683%
56 | hotel-large | equipment_density_residence | equipment_density | 0.1641%
191 | residential-care | lighting_density_dining | lighting_density | 0.1574%
225 | restaurant-full-service | cooling_setpoint_setup | setpoint | 0.1535%
335 | school-primary | equipment_density_mechanical | equipment_density | 0.1449%
272 | retail-strip-mall | air_leakage | air_leakage | 0.1437%
15 | apartment-highrise | heating_setpoint_corridor | setpoint | 0.1434%
249 | restaurant-quick-service | oa_person_dining | oa_person | 0.1434%
388 | school-secondary | equipment_density_library | equipment_density | 0.1429%
81 | hotel-large | oa_person_lobby | oa_person | 0.1425%
74 | hotel-large | oa_person_banquet | oa_person | 0.1383%
393 | school-secondary | gas_max_kitchen | gas | 0.1356%
222 | restaurant-full-service | heating_setpoint | setpoint | 0.1323%
105 | hotel-small | lighting_density_office | lighting_density | 0.128%
250 | restaurant-quick-service | oa_person_kitchen | oa_person | 0.1258%
379 | school-secondary | equipment_density_auditorium | equipment_density | 0.125%
99 | hotel-small | air_leakage | air_leakage | 0.1201%
231 | restaurant-full-service | oa_person_kitchen | oa_person | 0.1201%
117 | hotel-small | equipment_density_office | equipment_density | 0.1186%
366 | school-secondary | air_leakage | air_leakage | 0.1176%
37 | apartment-midrise | heating_setpoint_corridor | setpoint | 0.1173%
78 | hotel-large | oa_person_dining | oa_person | 0.116%
188 | residential-care | lighting_density_amenity | lighting_density | 0.115%
196 | residential-care | lighting_density_lobby | lighting_density | 0.1138%
219 | restaurant-full-service | equipment_density_kitchen | equipment_density | 0.113%
27 | apartment-midrise | equipment_density_office | equipment_density | 0.1116%
281 | retail-strip-mall | oa_area_large | oa_area | 0.1101%
212 | residential-care | oa_area_common | oa_area | 0.1094%
326 | school-primary | equipment_density_bath | equipment_density | 0.1084%
390 | school-secondary | equipment_density_mechanical | equipment_density | 0.1081%
156 | office-large | oa_person_office | oa_person | 0.1053%
133 | hotel-small | oa_area_laundry | oa_area | 0.105%
104 | hotel-small | lighting_density_frontlounge | lighting_density | 0.1027%
130 | hotel-small | oa_area_fitness | oa_area | 0.1009%
334 | school-primary | equipment_density_lobby | equipment_density | 0.09727%
116 | hotel-small | equipment_density_frontlounge | equipment_density | 0.09712%
215 | restaurant-full-service | air_leakage | air_leakage | 0.09358%
329 | school-primary | equipment_density_computer | equipment_density | 0.09231%
244 | restaurant-quick-service | cooling_setpoint_setup | setpoint | 0.09055%
317 | school-primary | lighting_density_classroom | lighting_density | 0.08982%
131 | hotel-small | oa_area_office | oa_area | 0.08632%
143 | hotel-small | oa_person_laundry | oa_person | 0.08448%
181 | office-small | cooling_setpoint_setup | setpoint | 0.08358%
252 | restaurant-quick-service | oa_area_kitchen | oa_area | 0.08309%
195 | residential-care | lighting_density_laundry | lighting_density | 0.08259%
23 | apartment-midrise | lighting_density_office | lighting_density | 0.08128%
295 | retail-supermarket | equipment_density_deli_exhfan | equipment_density | 0.07979%
293 | retail-supermarket | equipment_density_deli | equipment_density | 0.07939%
283 | retail-strip-mall | oa_person_large | oa_person | 0.07917%
292 | retail-supermarket | equipment_density_bakery | equipment_density | 0.07741%
233 | restaurant-full-service | oa_area_kitchen | oa_area | 0.0766%
308 | retail-supermarket | oa_person_bakery | oa_person | 0.07611%
184 | residential-care | air_leakage | air_leakage | 0.07444%
119 | hotel-small | equipment_density_laundry | equipment_density | 0.07314%
128 | hotel-small | oa_area_corridor | oa_area | 0.07058%
141 | hotel-small | oa_person_office | oa_person | 0.06776%
89 | hotel-large | oa_area_corridor | oa_area | 0.06639%
76 | hotel-large | oa_person_cafeteria | oa_person | 0.065%
87 | hotel-large | oa_area_basement | oa_area | 0.065%
186 | residential-care | lighting_density_office | lighting_density | 0.06382%
10 | apartment-highrise | cooling_setpoint | setpoint | 0.06299%
204 | residential-care | equipment_density_laundry | equipment_density | 0.06276%
372 | school-secondary | lighting_density_corridor | lighting_density | 0.0625%
375 | school-secondary | lighting_density_kitchen | lighting_density | 0.0625%
380 | school-secondary | equipment_density_bath | equipment_density | 0.0625%
241 | restaurant-quick-service | heating_setpoint | setpoint | 0.06187%
49 | hotel-large | equipment_density_cafeteria | equipment_density | 0.06089%
180 | office-small | heating_setpoint_setback | setpoint | 0.05899%
389 | school-secondary | equipment_density_lobby | equipment_density | 0.05882%
109 | hotel-small | lighting_density_laundry | lighting_density | 0.05869%
234 | restaurant-quick-service | air_leakage | air_leakage | 0.05859%
200 | residential-care | equipment_density_office | equipment_density | 0.05834%
107 | hotel-small | lighting_density_storage | lighting_density | 0.05764%
232 | restaurant-full-service | oa_area_dining | oa_area | 0.05593%
127 | hotel-small | heating_setpoint_stairsstorage | setpoint | 0.05585%
47 | hotel-large | equipment_density_banquet | equipment_density | 0.05505%
51 | hotel-large | equipment_density_dining | equipment_density | 0.05497%
300 | retail-supermarket | heating_setpoint_setback | setpoint | 0.05475%
279 | retail-strip-mall | heating_setpoint_setback | setpoint | 0.0535%
111 | hotel-small | lighting_density_meeting | lighting_density | 0.05248%
163 | office-medium | air_leakage | air_leakage | 0.05217%
69 | hotel-large | heating_setpoint | setpoint | 0.0507%
59 | hotel-large | equipment_density_mechanical | equipment_density | 0.04983%
19 | apartment-highrise | oa_area_office | oa_area | 0.04874%
198 | residential-care | lighting_density_restroom | lighting_density | 0.04849%
55 | hotel-large | equipment_density_retail | equipment_density | 0.04789%
327 | school-primary | equipment_density_cafeteria | equipment_density | 0.04768%
148 | office-large | air_leakage | air_leakage | 0.04706%
320 | school-primary | lighting_density_gym | lighting_density | 0.04607%
199 | residential-care | lighting_density_storage | lighting_density | 0.04515%
29 | apartment-midrise | equipment_density_elevator | equipment_density | 0.04484%
134 | hotel-small | oa_area_mechanical | oa_area | 0.04477%
93 | hotel-large | oa_area_lobby | oa_area | 0.04417%
194 | residential-care | lighting_density_kitchen | lighting_density | 0.04395%
5 | apartment-highrise | equipment_density_office | equipment_density | 0.04342%
288 | retail-supermarket | lighting_density_office | lighting_density | 0.04223%
381 | school-secondary | equipment_density_cafeteria | equipment_density | 0.04%
210 | residential-care | oa_person_kitchen | oa_person | 0.03942%
41 | apartment-midrise | oa_area_office | oa_area | 0.03855%
302 | retail-supermarket | oa_area_bakery | oa_area | 0.03746%
277 | retail-strip-mall | heating_setpoint | setpoint | 0.03528%
291 | retail-supermarket | equipment_density_office | equipment_density | 0.03474%
1 | apartment-highrise | lighting_density_office | lighting_density | 0.03406%
264 | retail-stand-alone | heating_setpoint_setback | setpoint | 0.03384%
419 | school-secondary | oa_area_kitchen | oa_area | 0.03378%
314 | school-primary | air_leakage | air_leakage | 0.03021%
58 | hotel-large | equipment_density_storage | equipment_density | 0.02872%
102 | hotel-small | lighting_density_employeelounge | lighting_density | 0.02822%
114 | hotel-small | equipment_density_employeelounge | equipment_density | 0.02802%
360 | school-primary | oa_area_gym | oa_area | 0.02747%
203 | residential-care | equipment_density_kitchen_exhfan | equipment_density | 0.02712%
387 | school-secondary | equipment_density_kitchen_exhfan | equipment_density | 0.02632%
121 | hotel-small | equipment_density_restroom | equipment_density | 0.02589%
38 | apartment-midrise | oa_person_office | oa_person | 0.0258%
332 | school-primary | equipment_density_kitchen | equipment_density | 0.02508%
396 | school-secondary | dhw_kitchen | dhw | 0.025%
178 | office-small | heating_setpoint | setpoint | 0.02497%
193 | residential-care | lighting_density_gym | lighting_density | 0.02424%
251 | restaurant-quick-service | oa_area_dining | oa_area | 0.02273%
433 | warehouse | oa_area_finestorage | oa_area | 0.022%
103 | hotel-small | lighting_density_fitness | lighting_density | 0.02154%
144 | hotel-small | oa_person_mechanical | oa_person | 0.02133%
16 | apartment-highrise | oa_person_office | oa_person | 0.02128%
192 | residential-care | lighting_density_elevator | lighting_density | 0.02111%
53 | hotel-large | equipment_density_laundry | equipment_density | 0.0208%
268 | retail-stand-alone | oa_area_office | oa_area | 0.02078%
159 | office-large | oa_area_basement | oa_area | 0.02069%
7 | apartment-highrise | equipment_density_elevator | equipment_density | 0.02039%
254 | retail-stand-alone | air_leakage_entry | air_leakage | 0.0201%
112 | hotel-small | lighting_density_restroom | lighting_density | 0.01958%
342 | school-primary | heating_setpoint_setback | setpoint | 0.0194%
120 | hotel-small | equipment_density_meeting | equipment_density | 0.01815%
110 | hotel-small | lighting_density_mechanical | lighting_density | 0.0175%
98 | hotel-large | pump_eff_dhw | dhw | 0.0172%
306 | retail-supermarket | oa_area_produce | oa_area | 0.01623%
52 | hotel-large | equipment_density_kitchen | equipment_density | 0.01612%
136 | hotel-small | oa_area_restroom | oa_area | 0.01597%
75 | hotel-large | oa_person_basement | oa_person | 0.01583%
340 | school-primary | heating_setpoint | setpoint | 0.01555%
312 | retail-supermarket | oa_person_produce | oa_person | 0.0138%
349 | school-primary | oa_person_gym | oa_person | 0.01368%
197 | residential-care | lighting_density_mechanical | lighting_density | 0.01325%
115 | hotel-small | equipment_density_fitness | equipment_density | 0.01294%
343 | school-primary | cooling_setpoint_setup | setpoint | 0.01291%
202 | residential-care | equipment_density_kitchen | equipment_density | 0.01271%
321 | school-primary | lighting_density_kitchen | lighting_density | 0.01188%
316 | school-primary | lighting_density_cafeteria | lighting_density | 0.01124%
208 | residential-care | dhw_laundry | dhw | 0.01116%
86 | hotel-large | oa_area_banquet | oa_area | 0.01111%
391 | school-secondary | equipment_density_elevator | equipment_density | 0.01111%
437 | warehouse | oa_person_office | oa_person | 0.01111%
90 | hotel-large | oa_area_dining | oa_area | 0.01091%
258 | retail-stand-alone | equipment_density_entry | equipment_density | 0.01044%
101 | hotel-small | lighting_density_elevator | lighting_density | 0.01013%
9 | apartment-highrise | heating_setpoint | setpoint | 0.009681%
275 | retail-strip-mall | lighting_density_low | lighting_density | 0.009294%
123 | hotel-small | dhw_laundry | dhw | 0.009114%
34 | apartment-midrise | cooling_setpoint_setup | setpoint | 0.009059%
434 | warehouse | oa_area_office | oa_area | 0.009%
240 | restaurant-quick-service | dhw_kitchen | dhw | 0.008651%
31 | apartment-midrise | heating_setpoint | setpoint | 0.008589%
350 | school-primary | oa_person_kitchen | oa_person | 0.008305%
11 | apartment-highrise | heating_setpoint_setback | setpoint | 0.008249%
257 | retail-stand-alone | lighting_density_office | lighting_density | 0.007975%
71 | hotel-large | heating_setpoint_setback | setpoint | 0.007571%
256 | retail-stand-alone | lighting_density_retail | lighting_density | 0.007247%
271 | retail-stand-alone | oa_person_office | oa_person | 0.007143%
303 | retail-supermarket | oa_area_bulkstorage | oa_area | 0.007082%
82 | hotel-large | oa_person_retail | oa_person | 0.007%
301 | retail-supermarket | cooling_setpoint_setup | setpoint | 0.006899%
213 | residential-care | oa_area_kitchen | oa_area | 0.0067%
79 | hotel-large | oa_person_kitchen | oa_person | 0.006667%
88 | hotel-large | oa_area_cafeteria | oa_area | 0.006136%
436 | warehouse | oa_person_finestorage | oa_person | 0.005556%
113 | hotel-small | equipment_density_elevator | equipment_density | 0.005433%
221 | restaurant-full-service | dhw_kitchen | dhw | 0.005384%
206 | residential-care | dhw_kitchen | dhw | 0.005382%
94 | hotel-large | oa_area_retail | oa_area | 0.004722%
243 | restaurant-quick-service | heating_setpoint_setback | setpoint | 0.004632%
26 | apartment-midrise | lighting_density_elevator | lighting_density | 0.004591%
97 | hotel-large | oa_area_mechanical | oa_area | 0.004167%
361 | school-primary | oa_area_kitchen | oa_area | 0.003723%
44 | hotel-large | air_leakage | air_leakage | 0.003714%
91 | hotel-large | oa_area_kitchen | oa_area | 0.0035%
255 | retail-stand-alone | lighting_density_entry | lighting_density | 0.003457%
168 | office-medium | dhw_office | dhw | 0.00303%
432 | warehouse | oa_area_bulkstorage | oa_area | 0.003%
64 | hotel-large | dhw_laundry | dhw | 0.002829%
32 | apartment-midrise | cooling_setpoint | setpoint | 0.002642%
274 | retail-strip-mall | lighting_density_med | lighting_density | 0.002622%
80 | hotel-large | oa_person_laundry | oa_person | 0.0025%
92 | hotel-large | oa_area_laundry | oa_area | 0.0025%
96 | hotel-large | oa_area_storage | oa_area | 0.0025%
304 | retail-supermarket | oa_area_deli | oa_area | 0.002454%
85 | hotel-large | oa_person_mechanical | oa_person | 0.002167%
4 | apartment-highrise | lighting_density_elevator | lighting_density | 0.002038%
33 | apartment-midrise | heating_setpoint_setback | setpoint | 0.001652%
273 | retail-strip-mall | lighting_density_high | lighting_density | 0.001638%
305 | retail-supermarket | oa_area_office | oa_area | 0.00143%
339 | school-primary | dhw_kitchen | dhw | 0.001375%
324 | school-primary | lighting_density_mechanical | lighting_density | 0.001352%
226 | restaurant-full-service | heating_setpoint_kitchen | setpoint | 0.001345%
325 | school-primary | lighting_density_office | lighting_density | 0.001237%
309 | retail-supermarket | oa_person_bulkstorage | oa_person | 0.001137%
152 | office-large | dhw_office | dhw | 0.00101%
310 | retail-supermarket | oa_person_deli | oa_person | 0.000795%
245 | restaurant-quick-service | heating_setpoint_kitchen | setpoint | 0.0007726%
311 | retail-supermarket | oa_person_office | oa_person | 0.0006814%
84 | hotel-large | oa_person_storage | oa_person | 0.0005%
224 | restaurant-full-service | heating_setpoint_setback | setpoint | 0.0004656%
63 | hotel-large | dhw_kitchen | dhw | 0.0004333%
12 | apartment-highrise | cooling_setpoint_setup | setpoint | 0.000375%
356 | school-primary | oa_area_cafeteria | oa_area | 0.0002864%
322 | school-primary | lighting_density_library | lighting_density | 0.0002291%
68 | hotel-large | dhw_temp_residence | dhw | 0.0002267%
318 | school-primary | lighting_density_computer | lighting_density | 0.0001833%
319 | school-primary | lighting_density_corridor | lighting_density | 0.0001604%
315 | school-primary | lighting_density_bath | lighting_density | 0.0001146%
228 | restaurant-full-service | heating_setpoint_kitchen_setback | setpoint | 0.0001035%
247 | restaurant-quick-service | heating_setpoint_kitchen_setback | setpoint | 7.726e-05%
323 | school-primary | lighting_density_lobby | lighting_density | 6.874e-05%
338 | school-primary | dhw_bath | dhw | 6.874e-05%
351 | school-primary | oa_person_library | oa_person | 5.728e-05%
67 | hotel-large | dhw_temp_laundry | dhw | 5.25e-05%
207 | residential-care | dhw_temp_kitchen | dhw | 4.725e-05%
66 | hotel-large | dhw_temp_kitchen | dhw | 1.5e-05%
18 | apartment-highrise | oa_person_corridor | oa_person | 0%
40 | apartment-midrise | oa_person_corridor | oa_person | 0%
45 | hotel-large | air_leakage_basement | air_leakage | 0%
62 | hotel-large | dhw_cafeteria | dhw | 0%
72 | hotel-large | heating_setpoint_residence | setpoint | 0%
73 | hotel-large | cooling_setpoint_residence | setpoint | 0%
77 | hotel-large | oa_person_corridor | oa_person | 0%
83 | hotel-large | oa_person_residence | oa_person | 0%
95 | hotel-large | oa_area_residence | oa_area | 0%
137 | hotel-small | oa_area_storage | oa_area | 0%
138 | hotel-small | oa_person_corridor | oa_person | 0%
146 | hotel-small | oa_person_restroom | oa_person | 0%
147 | hotel-small | oa_person_storage | oa_person | 0%
150 | office-large | lighting_density_elevator | lighting_density | 0%
153 | office-large | dhw_temp | dhw | 0%
154 | office-large | heating_setpoint | setpoint | 0%
157 | office-large | oa_person_basement | oa_person | 0%
160 | office-large | supply_dhw_temp | dhw | 0%
161 | office-large | pump_eff_dhw | dhw | 0%
162 | office-large | pump_head_dhw | dhw | 0%
165 | office-medium | lighting_density_elevator | lighting_density | 0%
169 | office-medium | dhw_temp | dhw | 0%
172 | office-medium | supply_dhw_temp | dhw | 0%
266 | retail-stand-alone | oa_area_entry | oa_area | 0%
269 | retail-stand-alone | oa_person_entry | oa_person | 0%
344 | school-primary | oa_person_bath | oa_person | 0%
346 | school-primary | oa_person_classroom | oa_person | 0%
347 | school-primary | oa_person_computer | oa_person | 0%
348 | school-primary | oa_person_corridor | oa_person | 0%
352 | school-primary | oa_person_lobby | oa_person | 0%
353 | school-primary | oa_person_mechanical | oa_person | 0%
354 | school-primary | oa_person_office | oa_person | 0%
355 | school-primary | oa_area_bath | oa_area | 0%
357 | school-primary | oa_area_classroom | oa_area | 0%
358 | school-primary | oa_area_computer | oa_area | 0%
359 | school-primary | oa_area_corridor | oa_area | 0%
362 | school-primary | oa_area_library | oa_area | 0%
363 | school-primary | oa_area_lobby | oa_area | 0%
364 | school-primary | oa_area_mechanical | oa_area | 0%
365 | school-primary | oa_area_office | oa_area | 0%
367 | school-secondary | lighting_density_auditorium | lighting_density | 0%
368 | school-secondary | lighting_density_bath | lighting_density | 0%
369 | school-secondary | lighting_density_cafeteria | lighting_density | 0%
370 | school-secondary | lighting_density_classroom | lighting_density | 0%
371 | school-secondary | lighting_density_computer | lighting_density | 0%
373 | school-secondary | lighting_density_elevator | lighting_density | 0%
374 | school-secondary | lighting_density_gym | lighting_density | 0%
376 | school-secondary | lighting_density_library | lighting_density | 0%
377 | school-secondary | lighting_density_lobby | lighting_density | 0%
378 | school-secondary | lighting_density_office | lighting_density | 0%
383 | school-secondary | equipment_density_computer | equipment_density | 0%
386 | school-secondary | equipment_density_kitchen | equipment_density | 0%
394 | school-secondary | dhw_bath | dhw | 0%
395 | school-secondary | dhw_gym | dhw | 0%
397 | school-secondary | dhw_temp_bath | dhw | 0%
398 | school-secondary | dhw_temp_gym | dhw | 0%
399 | school-secondary | dhw_temp_kitchen | dhw | 0%
400 | school-secondary | oa_person_auditorium | oa_person | 0%
401 | school-secondary | oa_person_auxgym | oa_person | 0%
402 | school-secondary | oa_person_cafeteria | oa_person | 0%
403 | school-secondary | oa_person_classroom | oa_person | 0%
404 | school-secondary | oa_person_computer | oa_person | 0%
405 | school-secondary | oa_person_gym | oa_person | 0%
407 | school-secondary | oa_person_library | oa_person | 0%
408 | school-secondary | oa_person_lobby | oa_person | 0%
409 | school-secondary | oa_person_mechanical | oa_person | 0%
410 | school-secondary | oa_person_office | oa_person | 0%
411 | school-secondary | oa_area_auditorium | oa_area | 0%
412 | school-secondary | oa_area_auxgym | oa_area | 0%
413 | school-secondary | oa_area_bath | oa_area | 0%
414 | school-secondary | oa_area_cafeteria | oa_area | 0%
415 | school-secondary | oa_area_classroom | oa_area | 0%
416 | school-secondary | oa_area_computer | oa_area | 0%
417 | school-secondary | oa_area_corridor | oa_area | 0%
418 | school-secondary | oa_area_gym | oa_area | 0%
420 | school-secondary | oa_area_library | oa_area | 0%
421 | school-secondary | oa_area_lobby | oa_area | 0%
422 | school-secondary | oa_area_mechanical | oa_area | 0%
423 | school-secondary | oa_area_office | oa_area | 0%
425 | school-secondary | cooling_setpoint | setpoint | 0%
435 | warehouse | oa_person_bulkstorage | oa_person | 0%
174 | office-medium | cooling_setpoint | setpoint